## Slide 1: Modern imaging techniques in biology
The physical background of medical tomographies
Lecture 4

## Slide 2: MRI thematics
Microscopic and macroscopic magnetization. The Bloch equation. T1 and T2 relaxation times.
Magnetic resonance. 90° pulse. FID: free induction decay. Effective T2.
Pulse method for determining T2 and T1. Spin echo. Magnetic resonance spectroscopy.
Imaging. Selective excitation and read out of a slice.
Pulse sequences and contrast. Flow in MRI.
fMRI. BOLD. Echo planar imaging (EPI). Spin echo (SE) and gradient echo (GE) for fast imaging.
http://xrayphysics.com/sequences.html

## Slide 3: Magnetic resonance
„In the case of a pulsed magnetic resonance, the equilibrium of the magnetization for a sample in a magnetic field is disturbed by a radio frequency (RF) pulse which matches the frequency of the Larmor precession.”

## Slide 4: Rotating frame
Magnetization of the sample precesses along B0 with the Larmor frequency:
The rotating frame is fixed to the rotating magnetization. Axis of rotation is z
http://hyperphysics.phy-astr.gsu.edu/

## Slide 5: Radio frequency B1 acting on M
Magnetization vector M is constant in the rotating frame when considering only B0.
Imagine an additional B1 magnetic field rotating in the same direction with the same frequency.
B1 is stationary in the rotating frame and makes M rotate along B1.
Equation of motion in the rotating frame:
Result: M will be rotated by

## Slide 6: RF field: B1
B1 should have circular polarization. It rotates in the xy plane in the resting frame with the Larmor frequency:
.

## Slide 7: RF field B1 with linear polarization
However, B1 with linear polarization will do the same. As it is the superposition of a left handed and a right handed radiation with circular polarization.
In the rotating frame, the component rotating counter to the Larmor spinning appears as a rotating field with double Larmor frequency. Thus it is averaged out in a short time without significant effect.

## Slide 8: 90° RF pulse
After the 90° RF pulse the magnetization will follow the Bloch equations and relax:
90° RF pulse
T1 and T2 relaxation demo video

## Slide 9: Free induction decay (FID)
Relaxation after a 90° RF pulse in the time domain. MRI book chapter. Fig. 5.6 (a)

## Slide 10: Free induction decay (FID)
Frequency components of the signal can be given as its Fourier transform. The real part of the Fourier transform is the absorption line:
MRI book chapter. Fig. 5.6 (b)

## Slide 11: Free induction decay (FID)
The imaginary part of the Fourier transform is the dispersion line:
MRI book chapter. Fig. 5.6 (b)
T2 can be calculated as the half-width of the absorption line or the distance between the extreme values of the dispersion line:

## Slide 12: Effective T2 relaxation: T2*
In reality the relaxation of to zero happens faster than T2. This is due to the inhomogeneity of the external magnetic field Bz:
„T2 relaxation is the result of spin-spin interactions and due to the random nature of molecular motion, this process is irreversible.
T2* relaxation accounts for the more rapid decay of the FID signal, however the additional decay caused by field inhomogeneities can be reversed by the application of a 180° refocusing pulse. ”
Cardiovascular magnetic resonance physics for clinicians: Part I Article · Nov 2010 · Journal of Cardiovascular Magnetic Resonance