## Slide 1: Modern imaging techniques in biology
The physical background of medical tomographies
Lecture 6

## Slide 2: MRI thematics
Microscopic and macroscopic magnetization. The Bloch equation. T1 and T2 relaxation times.
Magnetic resonance. 90° pulse. FID: free induction decay. Effective T2.
Pulse method for determining T2 and T1. Spin echo. Magnetic resonance spectroscopy.
Imaging. Selective excitation and read out of a slice.
Pulse sequences and contrast. Flow in MRI.
fMRI. BOLD. Echo planar imaging (EPI). Spin echo (SE) and gradient echo (GE) for fast imaging.

## Slide 3: Imaging: read out of the slice
The slice is already excited selectively using
other slices are not excited. A new magnetic field gradient is switched on in the xy direction: (Gx,Gy) in order to code the spatial information in the Larmor frequency:

## Slide 4: k vector
,
where t is the temporal length (duration) of the gradient field
, x is coded in
, y is coded in
The scalar product of k and (x,y) gives the total phase shift
of the rotating spins.

## Slide 5: Measured signal after coding
We measure the integral signal of all voxels considering the phase shift of different voxels:
,
This is the 2D Fourier transform of the transverse magnetization:

## Slide 6: Pulse sequence and contrast

## Slide 7: Spatial resolution
kmax

## Slide 8: Effect of Te and Tr on the image contrast

## Slide 9: T2 and Te

## Slide 10: Tr setting can invert image contrast

## Slide 11: Tr setting can invert image contrast

## Slide 12: Flow in MRI
Flow perpendicular to the excited slice:
v: flow velocity perpendicular to the excited slice. d: slice thickness

## Slide 13: Flow in MRI
In case of laminar flow within the slice the phase shift caused by the imaging field gradient (G) is:
Noninvasive angiography of large vessels can be carried out.

## Slide 14: Arteries in the MR image